|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SN** | **ITEM DESCRIPTION** | **Estimated Qty** | **Unit** | **Brand** | **Rate per Unit** | **Remarks** |
| 1 | 2 pin  | 60 | Pcs |  |  |  |
| 2 | Bell buss switch | 60 | Set |  |  |  |
| 3 | Bulb Led 12 watt | 200 | Pcs |  |  |  |
| 4 | Bulb Led 18 watt | 200 | Pcs |  |  |  |
| 5 | Bulb Led 5 watt | 200 | Pcs |  |  |  |
| 6 | Cable socket 16A | 100 | Pcs |  |  |  |
| 7 | Clip for wiring | 30 | Pkt |  |  |  |
| 8 | Door bell | 20 | Set |  |  |  |
| 9 | Element for iron | 20 | Pcs |  |  |  |
| 10 | Extention chord 5 point | 50 | Set |  |  |  |
| 11 | Fuses 15/5/12/20/ | 200 | pcs |  |  |  |
| 12 | Gang Box | 40 | set |  |  |  |
| 13 | Grip  | 50 | Pkt |  |  |  |
| 14 | Hacksaw blade | 100 | pcs |  |  |  |
| 15 | Holder Polythene | 100 | pcs |  |  |  |
| 16 | Iron connector | 50 | set |  |  |  |
| 17 | Listic CPVC ½" | 40 | pcs |  |  |  |
| 18 | Listic CPVC 1" | 40 | pcs |  |  |  |
| 19 | Listic killa | 40 | Pkt |  |  |  |
| 20 | Listics Plastic | 50 | pcs |  |  |  |
| 21 | Main Switch | 40 | Set |  |  |  |
| 22 | Mcb 10A | 40 | Set |  |  |  |
| 23 | Multi Plug 15 A | 50 | Pcs |  |  |  |
| 24 | Multi Plug 5 A | 50 | Pcs |  |  |  |
| 25 | Night bulb | 30 | Pcs |  |  |  |
| 26 | Ordinary wire 40/60 | 2000 | Meter |  |  |  |
| 27 | power socket 3X3 | 200 | Set |  |  |  |
| 28 | PVC Box 3X3 | 200 | Set |  |  |  |
| 29 | PVC Tape | 100 | Roll |  |  |  |
| 30 | PVC Wire 1/18 | 2000 | Meter |  |  |  |
| 31 | PVC Wire 3/20 | 1000 | Meter |  |  |  |
| 32 | PVC Wire 3/22 | 400 | Meter |  |  |  |
| 33 | PVC Wire 7/20 | 400 | Meter |  |  |  |
| 34 | PVC Wire 7/22 | 400 | Meter |  |  |  |
| 35 | Screw 1" | 10 | Pkt |  |  |  |
| 36 | screw 2" | 10 | Pkt |  |  |  |
| 37 | Socket 2 pin + 6 Gang | 40 | Set |  |  |  |
| 38 | Spot light | 40 | Set |  |  |  |
| 39 | Surface light 12 W | 50 | Set |  |  |  |
| 40 | Surface light 18 W | 50 | Set |  |  |  |
| 41 | Surface light 6W  | 50 | Set |  |  |  |
| 42 | Switch +Socket 5A 6/10/8/4 | 100 | Set |  |  |  |
| 43 | Switch 15 A | 40 | Set |  |  |  |
| 44 | Switch Box 15 A | 40 | Set |  |  |  |
| 45 | Telephone Set | 50 | Set |  |  |  |
| 46 | Telephone wire 2/20 | 500 | Meter |  |  |  |
| 47 | Test Pin | 100 | Pcs |  |  |  |
| 48 | three pin top 15A | 60 | Pcs |  |  |  |
| 49 | three pin top 5A | 60 | Pcs |  |  |  |
| 50 | Tube light bulb (LED) | 100 | Set |  |  |  |
| 51 | Tube Light Set (LED) | 100 | Set |  |  |  |